Course Syllabus

Course Title: Measurements

Course Code: ATE 1114

Course Delivery: 3 periods (Lab Work) +1 period (Class Activities)

Course Catalog Description:

This course begins by introducing students to measurements and methods of eliminating errors through hands-on practical activities. Students use various instruments to perform electrical measurements such as DC and AC measurements, and carry out a project towards the end of the course to familiarize with the process of rectification.

Course Objectives:

Upon successful completion of this course, the student should be able to:

- Define measurement and differentiate between the types of measurement;

- Define the major characteristics of an instrument/device and determine them through experiments;

- State the importance of calibrating measuring instruments;

- Perform DC and AC measurements, and carry out error analysis on measurements.

- Design, assemble, test and present a project prototype.

Course Modules:

| Module Title | # of Weeks |
| --- | --- |
| Module 1: Measurements and Error Analysis | 3 |
| Module 2: DC Measurement | 2 |
| Module 3: AC Measurement | 2 |
| Module 4: AC to DC Conversion | 2 |
| Module 5: Project | 2 |